## 1. UTP Cabling Rate Card
Form C - Price Schedule of Tenderer’s Offer
UTP CABLING RATE CARD - ITEMS / JOB SCOPE FOR UTP CABLING WORKS
PRICING TABLE 1
UTP Cabling Unit Price List
1 | All prices are quoted in SGD Dollars and valid for three (3) years. All prices subjected to Prevailing GST |  |  |  | NAFA PREMISES' NETWORK CABLING
2 | All cabling installation are covered with a workmanship warranty for one (1) year, starting from the date of practical completion
No. | Description | Part Number |  | Unit Price (SGD)
Cabling Brand
|  |  | U.M. | Brand: Panduit Pannet | Remarks
UTP Cabling
| Manufacturer Warranty Period (No. of Years) |  |  | 25 Years
1 | UTP Cat.6A
1.1a | To supply & install UTP Cat 6A Cabling (from rack to workstation within the same floor) Includes : 1 x UTP Cat 6A cable (90m), termination, labeling and testing , 1 x UTP Cat 6A RJ45 Jack & Faceplate, Base Box | PUL6AHD04BU-EG | Per Point |  | (LSZH) Low Smoke Zero Halogen Exclude Patchocord & Cable Support System
1.1b | To supply & install UTP Cat 6A Vertical Cabling (from rack to workstation from floor to floor) Includes : 1 x UTP Cat 6A cable (90m), termination, labeling and testing , 1 x UTP Cat 6A RJ45 Jack & Faceplate, Base Box | PUL6AHD04BU-EG | Per Point |  | LSZH. Exclude Patchocord & Cable Support System
1.1c | To supply & install UTP Cat 6A Rack to Rack Cabling (from Rack to Rack within the Comms Room) Includes : 1 x UTP Cat 6A cable, termination, labeling and testing (within 50m) | PUL6AHD04BU-EG | Per Point |  | LSZH. Exclude Patchocord & Cable Support System
1.1d | To supply labour to relocate & reterminate exisitng UTP Cat 6A Cabling |  | Per Point
1.2a | To supply & install 24-ports UTP Cat 6A patch panel (Loaded) | CPPL24WBLY + CJ6X88TGBU | Per Unit |  | Include Termination, Labelling and Tidying up
1.2b | To supply & install 24-ports UTP Cat 6A patch panel (Unloaded) | CPPL24WBLY | Per Unit
1.2c | To supply & install UTP Cat 6A RJ45 Jack | CJ6X88TGBU | Per Unit |  | Include Termination
1.3a | To supply & install Cable Management Panel - 1U | WMPFSE | Per Unit
1.3b | To supply & install Cable Management Panel - 2U | WMPF1E | Per Unit
1.4a | To supply & install UTP Cat 6A 28AWG Patch Cord - 1m | UTP28X1MBU | Per Unit
1.4b | To supply & install UTP Cat 6A 28AWG Patch Cord - 2m | UTP28X2MBU | Per Unit
1.4c | To supply & install UTP Cat 6A 28AWG Patch Cord - 3m | UTP28X3MBU | Per Unit
1.4d | To supply & install UTP Cat 6A 28AWG Patch Cord - 5m | UTP28X5MBU | Per Unit
1.4e | To supply & install UTP Cat 6A 28AWG Patch Cord - 10m | UTP28X10MBU | Per Unit
1.4f | To supply & install UTP Cat 6A 28AWG Patch Cord - 15m | UTP28X15MBU | Per Unit
1.4g | To supply & install UTP Cat 6A 28AWG Patch Cord - 20m | UTP28X20MBU | Per Unit
1.4h | To supply & install UTP Cat 6A 28AWG Patch Cord - 25m | UTP28X25MBU | Per Unit
2 | UTP CAT.6
2.1a | To supply & install UTP Cat 6 Cabling (from rack to workstation within the same floor) Includes : 1 x UTP Cat 6 cable (90m), termination, labeling and testing , 1 x UTP Cat.6 RJ45 Jack & Faceplate, Base Box | PUL6C04BU-FE | Per Point |  | LSZH. Exclude Patchocord & Cable Support System
2.1b | To supply & install UTP Cat 6 Vertical Cabling (from rack to workstation from floor to floor) Includes : 1 x UTP Cat 6 cable (90m), termination, labeling and testing , 1 x UTP Cat 6 RJ45 Jack & Faceplate, Base Box | PUL6C04BU-FE | Per Point |  | LSZH. Exclude Patchocord & Cable Support System
2.1c | To supply & install UTP Cat 6 Rack to Rack Cabling (from Rack to Rack within the Comms Room) Includes : 1 x UTP Cat 6 cable, termination, labeling and testing (within 50m) | PUL6C04BU-FE | Per Point |  | LSZH. Exclude Patchocord & Cable Support System
2.1d | To supply labour to relocate & reterminate exisitng UTP Cat 6 Cabling |  | Per Point
2.2a | To supply & install 24-ports UTP Cat 6 Patch Panel (Loaded) | CPPL24WBLY + CJ688TGBU | Per Unit |  | Include Termination, Labelling and Tidying up
2.2b | To supply & install 24-ports UTP Cat 6 Patch Panel (Unloaded) | CPPL24WBLY | Per Unit
2.2c | To supply & install UTP Cat 6 RJ45 Jack | CJ688TGBU | Per Unit |  | Include Termination
2.3a | To supply & install Cable Management Panel - 1U | WMPFSE | Per Unit
2.3b | To supply & install Cable Management Panel - 2U | WMPF1E | Per Unit
2.4a | To supply & install UTP Cat 6 28AWG Patch Cord - 1m | UTP28SP1MBU | Per Unit
2.4b | To supply & install UTP Cat 6 28AWG Patch Cord - 2m | UTP28SP2MBU | Per Unit
2.4c | To supply & install UTP Cat 6 28AWG Patch Cord - 3m | UTP28SP3MBU | Per Unit
2.4d | To supply & install UTP Cat 6 28AWG Patch Cord - 5m | UTP28SP5MBU | Per Unit
2.4e | To supply & install UTP Cat 6 28AWG Patch Cord - 10m | UTP28SP10MBU | Per Unit
2.4f | To supply & install UTP Cat 6 28AWG Patch Cord - 15m | UTP28SP15MBU | Per Unit
2.4g | To supply & install UTP Cat 6 28AWG Patch Cord - 20m | UTP28SP20MBU | Per Unit
2.4h | To supply & install UTP Cat 6 28AWG Patch Cord - 25m | UTP28SP25MBU | Per Unit
3 | UTP ACCESSORIES
3.1a | To supply & install 2-Ports Faceplate | CFPUKS2SAWY | Per Unit
3.1b | To supply & install 2-Ports Surface Box | CBX2IW-AY | Per Unit
3.2a | To supply & install UTP Cat 6A RJ45 Plug | SP6X88-C | Per Unit |  | Include Termination & Testing
3.2b | To supply & install UTP Cat 6A RJ45 Field-Terminated Plug | FP6X88MTG | Per Unit |  | Include Termination & Testing
3.2c | To supply & install Cat 6 RJ45 Plug |  | Per Unit |  | Include Termination & Testing
End:

## 2. Fiber Cabling Rate Card
Form C - Price Schedule of Tenderer’s Offer
FIBER CABLING RATE CARD - ITEMS / JOB SCOPE FOR FIBER CABLING WORKS
PRICING TABLE 2
Fiber Cabling Unit Price List
1 | All prices are quoted in SGD Dollars and valid for three (3) years. All prices subjected to Prevailing GST |  |  |  | NAFA PREMISES' NETWORK CABLING
2 | All cabling installation are covered with a workmanship warranty for one (1) year, starting from the date of practical completion
No. | Description | Part Number |  | Unit Price (SGD)
Cabling Brand
|  |  | U.M. | Brand: Panduit | Remarks
Fiber Cabling
| Manufacturer Warranty Period (No. of Years) |  |  | 25 Years
4 | OM3 FIBER
4.1a | To supply & install Indoor multimode OM3 2-core fiber cable (from rack to rack within the Building) | FLDLX02Y | Per Meter |  | LSZH. Exclude Connector & Termination
4.1b | To supply & install Indoor multimode OM3 6-core fiber cable (from rack to rack within the Building) | FLDLX06Y | Per Meter |  | LSZH. Exclude Connector & Termination
4.1c | To supply & install Indoor multimode OM312-core fiber cable (from rack to rack within the Building) | FLDLX12Y | Per Meter |  | LSZH. Exclude Connector & Termination
4.1d | To supply & install Indoor multimode OM3 24-core fiber cable (from rack to rack within the Building) | FLDLX24Y | Per Meter |  | LSZH. Exclude Connector & Termination
4.2a | To supply & install Outdoor Armoured multimode OM3 6-core fiber cable (from rack to rack within the Building or from Building to Building) | FL7LX06 | Per Meter |  | LSZH. Exclude Connector & Termination
4.2b | To supply & install Outdoor Armoured multimode OM3 12-core fiber cable (from rack to rack within the Building or from Building to Building) | FL7LX12 | Per Meter |  | LSZH. Exclude Connector & Termination
4.2c | To supply & install Outdoor Armoured multimode OM3 24-core fiber cable (from rack to rack within the Building or from Building to Building) | FL7LX24 | Per Meter |  | LSZH. Exclude Connector & Termination
4.3a | To supply & terminate multimode OM3 LC Connector, LC Pigtail, include testing | NKFPX1BN1NNM001 | Per Unit |  | Include Termination & Testing
4.4a | To supply & install 24-port Fiber Patch Panel for Multimode OM3 (Unloaded) | FMT1 + CFAPPBL1 ( 2 parts) | Per Unit
4.5a | To supply & install LC multimode OM3 duplex adaptors (6 duplex LC) | FAP6WAQDLCZ | Per Unit
4.5b | To supply & install LC multimode OM3 duplex adaptors (12 duplex LC) | FAP12WAQDLCZ | Per Unit
4.6a | To supply & istall LC-LC multimode OM3 50um Fiber Patch Cord - 1m | NKFPX2ELLLSM001 | Per Unit
4.6b | To supply & istall LC-LC multimode OM3 50um Fiber Patch Cord - 2m | NKFPX2ELLLSM002 | Per Unit
4.6c | To supply & istall LC-LC multimode OM3 50um Fiber Patch Cord - 3m | NKFPX2ELLLSM003 | Per Unit
4.6d | To supply & istall LC-LC multimode OM3 50um Fiber Patch Cord - 5m | NKFPX2ELLLSM005 | Per Unit
4.6e | To supply & istall LC-LC multimode OM3 50um Fiber Patch Cord - 10m | NKFPX2ELLLSM010 | Per Unit
4.6f | To supply & istall LC-LC multimode OM3 50um Fiber Patch Cord - 15m | NKFPX2ELLLSM015 | Per Unit
4.6g | To supply & istall LC-LC multimode OM3 50um Fiber Patch Cord - 20m | NKFPX2ELLLSM020 | Per Unit
5 | OM4 FIBER
5.1a | To supply & install Indoor multimode OM4 2-core fiber cable (from rack to rack within the Building) | FLDLZ02Y | Per Meter |  | LSZH. Exclude Connector & Termination
5.1b | To supply & install Indoor multimode OM4 6-core fiber cable (from rack to rack within the Building) | FLDLZ06Y | Per Meter |  | LSZH. Exclude Connector & Termination
5.1c | To supply & install Indoor multimode OM412-core fiber cable (from rack to rack within the Building) | FLDLZ12Y | Per Meter |  | LSZH. Exclude Connector & Termination
5.1d | To supply & install Indoor multimode OM4 24-core fiber cable (from rack to rack within the Building) | FLDLZ24Y | Per Meter |  | LSZH. Exclude Connector & Termination
5.2a | To supply & install Outdoor Armoured multimode OM4 6-core fiber cable (from rack to rack within the Building or from Building to Building) | FL7LZ06 | Per Meter |  | LSZH. Exclude Connector & Termination
5.2b | To supply & install Outdoor Armoured multimode OM4 12-core fiber cable (from rack to rack within the Building or from Building to Building) | FL7LZ12 | Per Meter |  | LSZH. Exclude Connector & Termination
5.2c | To supply & install Outdoor Armoured multimode OM4 24-core fiber cable (from rack to rack within the Building or from Building to Building) | FL7LZ24 | Per Meter |  | LSZH. Exclude Connector & Termination
5.3a | To supply & terminate multimode OM4 LC Connector, LC Pigtail, include testing | NKFPZ1BN1NNM001 | Per Unit |  | Include Termination & Testing
5.4a | To supply & install 24-port Fiber Patch Panel for Multimode OM4 (Unloaded) | FMT1 + CFAPPBL1 ( 2 parts) | Per Unit
5.5a | To supply & install LC multimode OM4 duplex adaptors (6 duplex LC) | FAP6WAQDLCZ | Per Unit
5.5b | To supply & install LC multimode OM4 duplex adaptors (12 duplex LC) | FAP12WAQDLCZ | Per Unit
5.6a | To supply & istall LC-LC multimode OM4 50um Fiber Patch Cord - 1m | NKFPZ22LLLSM001 | Per Unit
5.6b | To supply & istall LC-LC multimode OM4 50um Fiber Patch Cord - 2m | NKFPZ22LLLSM002 | Per Unit
5.6c | To supply & istall LC-LC multimode OM4 50um Fiber Patch Cord - 3m | NKFPZ22LLLSM003 | Per Unit
5.6d | To supply & istall LC-LC multimode OM4 50um Fiber Patch Cord - 5m | NKFPZ22LLLSM005 | Per Unit
5.6e | To supply & istall LC-LC multimode OM4 50um Fiber Patch Cord - 10m | NKFPZ22LLLSM010 | Per Unit
5.6f | To supply & istall LC-LC multimode OM4 50um Fiber Patch Cord - 15m | NKFPZ22LLLSM015 | Per Unit
5.6g | To supply & istall LC-LC multimode OM4 50um Fiber Patch Cord - 20m | NKFPZ22LLLSM020 | Per Unit
6 | SM FIBER
6.1a | To supply & install Indoor singlemode 2-core fiber cable (from rack to rack within the Building) | FLDL902Y | Per Meter |  | LSZH. Exclude Connector & Termination
6.1b | To supply & install Indoor singlemode 6-core fiber cable (from rack to rack within the Building) | FLDL906Y | Per Meter |  | LSZH. Exclude Connector & Termination
6.1c | To supply & install Indoor singlemode 12-core fiber cable (from rack to rack within the Building) | FLDL912Y | Per Meter |  | LSZH. Exclude Connector & Termination
6.1d | To supply & install Indoor singlemode 24-core fiber cable (from rack to rack within the Building) | FLDL924Y | Per Meter |  | LSZH. Exclude Connector & Termination
6.2a | To supply & install Outdoor Armoured singlemode 6-core fiber cable (from rack to rack within the Building or from Building to Building) | FL7L906 | Per Meter |  | LSZH. Exclude Connector & Termination
6.2b | To supply & install Outdoor Armoured singlemode 12-core fiber cable (from rack to rack within the Building or from Building to Building) | FL7L912 | Per Meter |  | LSZH. Exclude Connector & Termination
6.2c | To supply & install Outdoor Armoured singlemode 24-core fiber cable (from rack to rack within the Building or from Building to Building) | FL7L924 | Per Meter |  | LSZH. Exclude Connector & Termination
6.3a | To supply & terminate singlemode LC Connector, LC Pigtail, include testing | NKFP91NBNNM001 | Per Unit |  | Include Termination & Testing
6.4a | To supply & install 24-port Fiber Patch Panel for singlemode (Unloaded) | FMT1 + CFAPPBL1 ( 2 parts) | Per Unit
6.5a | To supply & install LC singlemode duplex adaptors (6 duplex LC) | FAP6WBUDLCZ | Per Unit
6.5b | To supply & install LC singlemode duplex adaptors (12 duplex LC) | FAP12WBUDLCZ | Per Unit
6.6a | To supply & install LC-LC singlemode Fiber Patch Cord - 1m | NKFP92ELLLSM001 | Per Unit
6.6b | To supply & install LC-LC singlemode Fiber Patch Cord - 2m | NKFP92ELLLSM002 | Per Unit
6.6c | To supply & install LC-LC singlemode Fiber Patch Cord - 3m | NKFP92ELLLSM003 | Per Unit
6.6d | To supply & install LC-LC singlemode Fiber Patch Cord - 5m | NKFP92ELLLSM005 | Per Unit
6.6e | To supply & install LC-LC singlemode Fiber Patch Cord - 10m | NKFP92ELLLSM010 | Per Unit
6.6f | To supply & install LC-LC singlemode Fiber Patch Cord - 15m | NKFP92ELLLSM015 | Per Unit
6.6g | To supply & install LC-LC singlemode Fiber Patch Cord - 20m | NKFP92ELLLSM020 | Per Unit
7 | FIBER ACCESSORIES
7.1a | To supply & install 6-Ports PVC fiber box (Unloaded) | CBXF6IW-AY | Per Unit
7.1b | To supply & install 12-Ports PVC fiber box (Unloaded) | CBXF12IW-AY | Per Unit
7.1c | To supply & install 12-Port Fibre Optics Wall Mount Enclosure (Unloaded) | FWME2 | Per Unit
7.1d | To supply & install 24-Port Fibre Optics Wall Mount Enclosure (Unloaded) | FWME4 | Per Unit
7.1e | To supply & install 48-Ports Opticom Fibre Panel (Unloaded) | FRE1UBL | Per Unit
7.1f | To supply & install 72-Ports Opticom Fibre Panel (Unloaded) | FRE2UBL | Per Unit
7.2a | To supply & install Fiber splice Tray | FSC24 | Per Unit
7.3a | To supply & install APC SC/LC SM coupler | FAP6WAGDSCZ | Per Unit
7.3b | To supply & install APC SC/LC SM pigtail for Singtel Fiber | F91BNANNNSNM001 | Per Unit |  | Include Termination & Testing
7.4a | To supply & install UTP 100 Base TX to Fiber 100 Base FX MM Converter | Dlink or Equivalent | Per Unit
7.4b | To supply & install UTP 100 Base TX to Fiber 100 Base FX SM Converter | Dlink or Equivalent | Per Unit
7.4c | To supply & install UTP 1000 Base T to Fiber 1000 Base LX MM Converter | Dlink or Equivalent | Per Unit
7.4d | To supply & install UTP 1000 Base T to Fiber 1000 Base LX SM Converter | Dlink or Equivalent | Per Unit
End:

## 3. Tel Cabling Rate Card
Form C - Price Schedule of Tenderer’s Offer
TEL CABLING RATE CARD - ITEMS / JOB SCOPE FOR TEL CABLING WORKS
PRICING TABLE 3
Tel Cabling Unit Price List
1 | All prices are quoted in SGD Dollars and valid for three (3) years. All prices subjected to Prevailing GST |  |  | NAFA PREMISES' NETWORK CABLING
2 | All cabling installation are covered with a workmanship warranty for one (1) year, starting from the date of practical completion
No. | Description |  | Unit Price (SGD)
Cabling Brand
|  | U.M. | Brand:OEM | Remarks
Tel Cabling
8 | PHONE CABLING AND ACCESSORIES
8.1a | To supply and install 2-pr telephone cabling (c/w Tel Faceplate & Basebox) | Per point
8.2a | To supply and install Wire jumpering at PBX Room or riser (c/w wire) | Per point
8.3a | To supply and install Telephone junction box (Roz) | Per Unit
8.4a | To supply and install Krone 108A Single Frame | Per Unit |  | Exclude Module
8.4b | To supply and install Krone 108A 6 Frames | Per Unit |  | Exclude Module
8.5a | To supply and install Krone 2/10 module | Per Unit
8.6a | To supply and install Krone Lightning Protection Magazine | Per Unit
8.7a | To supply and install Back Mount Frame for 30-pair block | Per Unit |  | Exclude Module
8.7b | To supply and install Back Mount Frame for 50-pair block | Per Unit |  | Exclude Module
8.7c | To supply and install Back Mount Frame for 100-pair block | Per Unit |  | Exclude Module
8.8a | To supply and install V Bracket for Back Mount Frame | Per Unit
8.8b | To supply and install 19” Bracket for Back Mount Frame | Per Unit
8.9a | To supply and install 10-pair local box | Per Unit |  | Include 1 x tel module & labor to terminnate
8.9b | To supply and install 30-pair local box | Per Unit |  | Include 3 x tel module & labor to terminnate
8.9c | To supply and install 50-pair local box | Per Unit |  | Include 5 x tel module & labor to terminnate
8.9d | To supply and install 100-pair local box | Per Unit |  | Include 10 x tel module & labor to terminnate
8.9e | To supply and install 150-pair local box | Per Unit |  | Include 15 x tel module & labor to terminate
8.9f | To supply and install 200-pair local box | Per Unit |  | Include 20 x tel module & labor to terminate
8.10a | To supply and install PVC 10-pair multicore cable | Per Meter |  | Include labour to lay
8.10b | To supply and install PVC 20-pair multicore cable | Per meter |  | Include labour to lay
8.10c | To supply and install PVC 25-pair multicore cable | Per Meter |  | Include labour to lay
8.10d | To supply and install PVC 50-pair multicore cable | Per Meter |  | Include labour to lay
8.10e | To supply and install PVC 100-pair multicore cable | Per Meter |  | Include labour to lay
8.11a | To supply and install UG 10-pair multicore cable | Per Meter |  | Include labour to lay
8.11b | To supply and install UG 25-pair multicore cable | Per Meter |  | Include labour to lay
8.11c | To supply and install UG 50-pair multicore cable | Per Meter |  | Include labour to lay
8.11d | To supply and install UG 100-pair multicore cable | Per Meter |  | Include labour to lay
8.12a | To supply and install 2-meter RJ11 telephone patch cord | Per Unit
8.12b | To supply and install 3-meter RJ11 telephone patch cord | Per Unit
8.12c | To supply and install 5-meter RJ11 telephone patch cord | Per Unit
8.13a | To supply labour to relocate 2-Pair telephone cable | Per Point
End:

## 4. Cable Support Rate Card
Form C - Price Schedule of Tenderer’s Offer
CABLE SUPPORT RATE CARD - ITEMS / JOB SCOPE (CABLE SUPPORT, TRAYS, TRUNKING, ACCESSORIES)
PRICING TABLE 4
Cable Support Unit Price List
1 | All prices are quoted in SGD Dollars and valid for three (3) years. All prices subjected to Prevailing GST |  |  | NAFA PREMISES' NETWORK CABLING
2 | All cabling installation are covered with a workmanship warranty for one (1) year, starting from the date of practical completion
No. | Description |  | Unit Price (SGD)
Cable Support
|  | U.M. | & accessories | Remarks
Cable Support
9 | SUPPLY AND INSTALL METAL & PVC TRUNKING
9.1 | METAL TRUNKING C/W REMOVABLE COVER AND BRACKETS (18/20 GAUGE)
9.1a | 50mm x 25mm (2" x 2") | Per Meter |  | Include Labour, Rod, Bracket & Accessories
9.1b | 50mm x 50mm (2" x 2") | Per Meter |  | Include Labour, Rod, Bracket & Accessories
9.1c | 50mm x 100mm (2" x 4") | Per Meter |  | Include Labour, Rod, Bracket & Accessories
9.1d | 100mm x 100mm (4" x 4") | Per Meter |  | Include Labour, Rod, Bracket & Accessories
9.1e | 50mm x 150mm (2" x 6") | Per Meter |  | Include Labour, Rod, Bracket & Accessories
9.1f | 100mm x 150mm (4" x 6") | Per Meter |  | Include Labour, Rod, Bracket & Accessories
9.1g | 100mm x 200mm (4" x 8") | Per Meter |  | Include Labour, Rod, Bracket & Accessories
9.1h | 150mm x 300mm (6" x 12") | Per Meter |  | Include Labour, Rod, Bracket & Accessories
9.2 | GALVANISED HOT DIP METAL TRUNKING C/W REMOVABLE COVER AND BRACKETS (18/20 GAUGE)
9.2a | 50mm x 50mm (2" x 2") | Per Meter |  | Include Labour, Rod, Bracket & Accessories
9.2b | 50mm x 100mm (2" x 4") | Per Meter |  | Include Labour, Rod, Bracket & Accessories
9.2c | 100mm x 100mm (4" x 4") | Per Meter |  | Include Labour, Rod, Bracket & Accessories
9.2d | 50mm x 150mm (2" x 6") | Per Meter |  | Include Labour, Rod, Bracket & Accessories
9.2e | 100mm x 150mm (4" x 6") | Per Meter |  | Include Labour, Rod, Bracket & Accessories
9.2f | 100mm x 200mm (4" x 8") | Per Meter |  | Include Labour, Rod, Bracket & Accessories
9.2g | 150mm x 300mm (6" x 12") | Per Meter |  | Include Labour, Rod, Bracket & Accessories
9.3 | PVC TRUNKING
9.3a | 25mm x 12mm (1" x 1/2") | Per Meter
9.3b | 40mm x 20mm (1 3/4" x 1 1/2") | Per Meter
9.3c | 50mm x 12mm (2" x 1/2") | Per Meter
9.3d | 50mm x 25mm (2" x 1") | Per Meter
9.3e | 50mm x 50mm (2" x 2") | Per Meter
9.3f | 75mm x 50mm (3" x 2") | Per Meter
9.3g | 100mm x 50mm (4" x 2") | Per Meter
9.3h | 100mm x 75mm (4" x 3") | Per Meter
9.3i | 100mm x 100mm (4" x 4") | Per Meter
10 | SUPPLY AND INSTALL CABLE TRAY, CABLE BASKET, CONDUIT PIPE
10.1 | PERFORATED METAL CABLE TRAY C/W BRACKETS (18/20 GAUGE)
10.1a | 50mm (2") | Per Meter |  | Include Labour, Rod, Bracket & Accessories
10.1b | 75mm (3") | Per Meter |  | Include Labour, Rod, Bracket & Accessories
10.1c | 100mm (4") | Per Meter |  | Include Labour, Rod, Bracket & Accessories
10.1d | 150mm (6") | Per Meter |  | Include Labour, Rod, Bracket & Accessories
10.1e | 200mm (8") | Per Meter |  | Include Labour, Rod, Bracket & Accessories
10.1f | 300mm (12") | Per Meter |  | Include Labour, Rod, Bracket & Accessories
10.1g | 600mm (24") | Per Meter |  | Include Labour, Rod, Bracket & Accessories
10.2 | CABLE BASKET C/W NECESSARY ACCESSORIES |  |  | * Installation mainly @ server room above racks
10.2a | 300mm (12") | Per Meter |  | Include Labour, Rod, Bracket & Accessories
10.2b | 450mm (18") | Per Meter |  | Include Labour, Rod, Bracket & Accessories
10.2c | 600mm (24") | Per Meter |  | Include Labour, Rod, Bracket & Accessories
10.3 | GALVANIZED STEEL CONDUIT PIPE RUN C/W NECESSARY ACCESSORIES (SADDLE, JUNCTION BOX, ETC)
10.3a | 20mm (0.8") | Per Meter
10.3b | 25mm (1") | Per Meter
10.3c | 30mm (1.5") | Per Meter
10.4 | METAL FLEXIBLE PIPE
10.4a | Flexible Metal Conduit 20mm (with PVC coating) | Per Meter
10.4b | Flexible Metal Conduit 25mm (with PVC coating) | Per Meter
10.4c | Flexible Metal Conduit 20mm | Per Meter
10.4d | Flexible Metal Conduit 25mm | Per Meter
10.5 | PVC CONDUIT PIPE RUN C/W NECESSARY ACCESSORIES (SADDLE, JUNCTION BOX, ETC)
10.5a | 20mm PVC Conduit Pipe | Per Meter
10.5b | 25mm PVC Conduit Pipe | Per Meter
10.5c | 32mm PVC Conduit Pipe | Per Meter
10.5d | 50mm PVC Conduit Pipe | Per Meter
10.5e | 20mm PVC Flexible Conduit | Per Meter
10.5f | 25mm PVC Flexible Conduit | Per Meter
10.5g | 32mm PVC Flexible Conduit | Per Meter
10.5h | 50mm PVC Flexible Conduit | Per Meter
End

## 5. Rack Rate Card
Form C - Price Schedule of Tenderer’s Offer
RACK RATE CARD - WALL MOUNT RACKS & STANDING RACKS
PRICING TABLE 5
Rack Unit Price List
1 | All prices are quoted in SGD Dollars and valid for three (3) years. All prices subjected to Prevailing GST |  |  | NAFA PREMISES' NETWORK CABLING
2 | All cabling installation are covered with a workmanship warranty for one (1) year, starting from the date of practical completion
No. | Description |  | Unit Price (SGD)
RACKING SYSTEM
|  | U.M. | Brand: OEM (or Equivalent) | Remarks
Rack
11 | WALL MOUNT ENCLOSURE (BLACK) C/W RACK MAIN FRAME, FULL PERFORATED DOOR WITH CAM LOCK, 2 SIDE DOORS WITH LOCK,
2 AC FANS, 1x6-WAYS PDU C/W 13A UK TYPE SOCKETS, 10 SETS OF M6 CAGENUTS & SCREWS
11.1a | 6U (600mm x 640mm) (width x depth) | Per Set |  | As above
11.1b | 9U (600mm x 640mm) (width x depth) | Per Set |  | As above
11.1c | 12U (600mm x 640mm) (width x depth) | Per Set |  | As above
11.1d | 15U (600mm x 640mm) (width x depth) | Per Set |  | As above
12 | HALF HEIGHT STANDING RACK (BLACK) C/W MAIN RACK FRAME WITH TOP & BOTTOM CABLE ENTRY, FRONT DOOR SINGLE SWING
PERFORATED HONEY-COMB WITH LOCK, BACK DOOR BIFOLD PERFORATED HONEY-COMB WITH LOCK, 2 SIDE PANELS
WITH LOCKS, 1 VERTICAL CABLE MANAGER, 2 PLAIN TRAYS, 1 FAN PLATE WITH 2 AC FANS, 1 SET OF CASTOR WHEEL &
ADJUSTABLE FEET, 1x8-WAYS PDU, 30 SETS OF CAGENUT & SCREWS
^^ FOR RACKS WITH 800MM DEPTH, C/W 1 SET 19" CONVERSION KIT
12.1a | 22U (600mm x 1000mm) (width x depth) | Per Set |  | Rack only, exclude delivery
12.1b | 27U (600mm x 1000mm) (width x depth) | Per Set |  | As above
12.1c | 32U (600mm x 1000mm) (width x depth) | Per Set |  | As above
12.1d | 22U (800mm x 1000mm) (width x depth) | Per Set |  | As above
12.1e | 27U (800mm x 1000mm) (width x depth) | Per Set |  | As above
12.1f | 32U (800mm x 1000mm) (width x depth) | Per Set |  | As above
13 | FULL HEIGHT STANDING RACK (BLACK) C/W MAIN RACK FRAME WITH TOP & BOTTOM CABLE ENTRY, FRONT DOOR SINGLE SWING
PERFORATED HONEY COMB WITH LOCK, BACK DOOR BIFOLD PERFORATED HONEY COMB WITH LOCK, 2 SIDE PANELS
WITH LOCKS, 1 VERTICAL CABLE MANAGER, 2 PLAIN TRAYS, 1 FAN PLATE WITH 4 AC FANS, 1 SET OF CASTOR WHEEL &
ADJUSTABLE FEET, 1x12-WAYS PDU, 50 SETS OF M6 CAGENUT & SCREWS
^^ FOR RACKS WITH 800MM DEPTH, C/W 1 SET 19" CONVERSION KIT
13.1a | 42U (600mm x 1000mm) (width x depth) | Per Set |  | Rack only, exclude delivery
13.1b | 45U (600mm x 1000mm) (width x depth) | Per Set |  | As above
13.1c | 42U (800mm^^ x 1000mm) (width x depth) | Per Set |  | As above
13.1d | 45U (800mm^^ x 1000mm) (width x depth) | Per Set |  | As above
14 | Rack Acccessories
14.1a | Plain tray for wall mount enclosure rack | Per Unit |  | Include Installation
14.1b | Plain tray for standing server rack | Per Unit |  | Include Installation
14.1c | Adjustable / telescopics tray for standing server rack | Per Unit |  | Include Installation
14.2a | 6-ways PDU (UK 13A 3PIN PLUG) * | Per Unit |  | Include Installation
14.2b | 10-ways PDU (UK 13A 3PIN PLUG) * | Per Unit |  | Include Installation
14.2c | 12-ways PDU (UK 13A 3PIN PLUG) * | Per Unit |  | Include Installation
14.3a | AC Fan for Rack | Per Unit |  | Include Installation
14.4a | Rack door handle lock set with keys | Per Unit |  | Include Installation
14.5a | Labor to relocate existing wall mount enclosure (dismantle & remount to new location) | Per Unit
14.5b | Labor to relocate / transport existing standing server rack to new location | Per Unit |  | For Old Rack only
14.5c | Labor / transport cost for delivery of new standing server rack | Per Unit |  | For New Rack only
End:
Remarks : * Other PDU configurations eg UK 13-pin Plus C13/14 etc or Smart PDU subject to separate quote as customised

## 6. Others Rate Card
Form C - Price Schedule of Tenderer’s Offer
OTHERS RATE CARD - MOUNTING WAP / RELOCATION / TROUBLESHOOT
PRICING TABLE 6
Others Unit Price List
1 | All prices are quoted in SGD Dollars and valid for three (3) years. All prices subjected to Prevailing GST |  |  | NAFA PREMISES' NETWORK CABLING
2 | All cabling installation are covered with a workmanship warranty for one (1) year, starting from the date of practical completion
No. | Description |  | Unit Price (SGD)
|  | U.M. |  | Remarks
Others
15 | WIRELESS ACESS POINT
15.1a | To supply labour and materials to mount Wireless Access Point (at area having ceiling board) | Per Unit
15.1b | To supply labour & materials to mount Wireless Access Point (direct wall mount or ceiling mount) | Per Unit
15.1c | To supply & install threaded rod suspended from Ceiling slab to mount the wireless access points | Per Unit
15.2a | To supply and install Metal Box for Wireless Access Point | Per Unit
15.3a | PE Cert for mounting of Wireless Access Points | Per Site
15.4 | To supply labour to dismantle WAP | Per Unit
16 | RELOCATION & SETUP SERVICE (INSURED) (DURING OFFICE HOURS)
16.1a | To supply labour to relocate/transport 42u Rack | Per Unit
16.1b | To supply labour to dismantle/relocate/transport/mount Server | Per Unit |  | Server, Core Switch
16.1c | To supply labour to dismantle/relocate/transport/set-up Workstation PC | Per Unit
16.1d | To supply labour to dismantle/relocate/transport/set-up Printer | Per Unit
16.1e | To supply labour to dismantle/relocate/transport/mount Network Equipment | Per Unit |  | Network Switch, Router, UPS, WAP
17 | TROUBLE SHOOT OF UTP & FIBER (DURING OFFICE HOURS)
17.1a | Trouble-shooting - Labour and Transport Only (Parts separate charges) | Per Trip |  | Exclude Labour & Parts to replace. During office Hour
17.1b | Troubleshooting & Testing of Fiber Cable | Per Core |  | Min Charge 2 Core, Exclude Transportation, Labour & Parts to replace. During Offie Hour
18 | OTHER SERVICES
18.1a | To supply labour to tidy-up Cable or Patch Cable | Per Unit
18.1b | To supply label for Patch Cable (both end) | Per Unit
18.1c | To supply labour to trace of LAN cable (UTP or Fiber) from rack to rack within 15m | Per Unit
18.1d | To supply labour to trace of LAN cable (UTP or Fiber) from rack to rack within 20m | Per Unit
18.1e | To supply labour to trace of LAN cable (UTP or Fiber) from rack to rack within 30m | Per Unit
18.1f | To supply labour to trace of LAN cable (UTP or Fiber) from rack to rack within 50m | Per Unit
18.1g | To supply labour to remove of LAN cable (UTP or Fiber) from rack to rack within 15m | Per Unit
18.1h | To supply labour to remove of LAN cable (UTP or Fiber) from rack to rack within 20m | Per Unit
18.1i | To supply labour to remove of LAN cable (UTP or Fiber) from rack to rack within 30m | Per Unit
18.1j | To supply labour to remove of LAN cable (UTP or Fiber) from rack to rack within 50m | Per Unit
18.2a | To supply labour to remove of LAN cable (UTP or Fiber) from Floor to Floor within 100m | Per Unit
18.2b | To supply labour to remove of LAN cable (UTP or Fiber) from Faceplate to Server Rm | Per Unit
18.2c | To supply & install RJ45 Jack to extend exisitng UTP Cat.6 Cabling from Flr to Table or Wall to Workstation (Data / Voice) | Per Unit
19 | DRILLING OF VERTICAL HOLES, HACKING AND BACKFILING
19.1a | To supply labour to drill horizontal/vertical of 25” holes for conduit pipe | Per Hole
19.1b | To supply labour and equipment to open horizontal of 6”x2” Holes for Cable Tray | Per Hole
19.1c | To supply labour and equipment to hack concrete floor for 4" x 4" Cable Trunking or 6" Coring and making good with cement skirting | Per Hole
19.1d | To supply labour and equipment to cut Raised Floor Board | Per Hole
19.1e | To supply labour and equipment to hack concrete floor & laying of pipe for cable include making good with cement plastering | Per Meter
19.1f | To supply labour and equipment to dig turf & laying of pipe for cable include making good | Per Meter
19.1g | To supply & install Fire Stop and Sticker | Per Hole
19.1h | PE Certification | Per Hole
20 | TRANSPORTATION CHARGE
20.1a | Transportation Charge only | Per Trip |  | 1 way
End

## 7. Labour Rate Card
Form C - Price Schedule of Tenderer’s Offer
LABOUR RATE CARD - ITEMS / JOB SCOPE FOR UTP CABLING WORKS
PRICING TABLE 7
Labour Unit Price List (For Maintenance Contract)
1 | All prices are quoted in SGD Dollars and valid for three (3) years. All prices subjected to Prevailing GST |  |  | NAFA PREMISES' NETWORK CABLING
2 | All cabling installation are covered with a workmanship warranty for one (1) year, starting from the date of practical completion
No. | Description |  | Unit Price (SGD)
|  | U.M. |  | Remarks
Labour for Project Management, Cabling Works, Troubleshooting & Resolution
21 | LABOUR
21.1a | Project Management - per man-day rate | Per Man-Day |  | Project Manager Role: attend high-level site meetings, site surveys, apply PTW, co-ordinate with users & main renovation contractors
21.1b | Overtime & Weekkend Charge - per man per hour rate | Per Man-Hour |  | No.of man & hour depends on size of project. Rate refer to 21.3e
21.2a | Project Supervisor - per man-day rate (Mon-Fri, office hours, 9am to 6pm) | Per Man-Day |  | Office Hr : 8hr + 1hr meal. Project Supervisor Role: attend regular site meetings, co-ordinate with users and supervise installation
21.2b | Project Supervisor - per man-day rate (Mon-Fri, after-office hours, 6pm to 11:59pm and Sat 9am to 1pm) | Per Man-Day |  | After Office Hr : Mon-Fri - 6hr or Sat - 4hr
21.2c | Project Supervisor - per man-day rate (after-office hours: Weekdays midnight onwards, Sat 1pm onwards, Sunday & P.H.) | Per Man-Day |  | Midnight/Sun/PH : 8hr + 1hr meal
21.2d | Project Supervisor - per man per hour (Mon-Fri, office hours, 9am to 6pm) *min 2 hours charge | Per Man-Hour
21.2e | Project Supervisor - per man per hour (Mon-Fri, after-office hours, 6am to 9am, 6pm to 11:59pm and Sat 9am to 11:59pm) *min 2 hours charge | Per Man-Hour
21.2f | Project Supervisor - per man per hour (after-office hours: Weekdays 12am-6am, Sat 12am to 6am, Sunday & P.H.) *min 2 hours charge | Per Man-Hour
21.3a | Cabling Technician - per man-day rate (Mon-Fri, office hours, 9am to 6pm) | Per Man-Day |  | Office Hr : 8hr + 1hr meal. Cabling Technician Role: provide installation services
21.3b | Cabling Technician - per man-day rate (Mon-Fri, after-office hours, 6pm to 11:59pm and Sat 9am to 1pm) | Per Man-Day |  | After Office Hr : Mon-Fri - 6hr or Sat - 4hr
21.3c | Cabling Technician - per man-day rate (after-office hours: Weekdays midnight onwards, Sat 1pm onwards, Sunday & P.H.) | Per Man-Day |  | Midnight/Sun/PH : 8hr + 1hr meal
21.3d | Cabling Technician - per man per hour (Mon-Fri, office hours, 9am to 6pm) *min 2 hours charge | Per Man-Hour
21.3e | Cabling Technician - per man per hour (Mon-Fri, after-office hours, 6am to 9am, 6pm to 11:59pm and Sat 9am to 11:59pm) *min 2 hours charge | Per Man-Hour
21.3f | Cabling Technician - per man per hour (after-office hours: Weekdays 12am-6am, Sat 12am to 6am, Sunday & P.H.) *min 2 hours charge | Per Man-Hour
21.3g | Cabling Technician - Troubleshooting & Transportation (Mon-Fri, office hours, 9am to 6pm) | Per Trip |  | Exclude change of faulty parts
21.3h | Cabling Technician - Troubleshooting & Transportation (Mon-Fri, after-office hours, 6pm to 11:59pm and Sat 9am to 1pm) | Per Trip |  | Exclude change of faulty parts
21.3i | Cabling Technician - Troubleshooting & Transportation (after-office hours: Weekdays midnight onwards, Sat 1pm onwards, Sunday & P.H.) | Per Trip |  | Exclude change of faulty parts
End: